## Thorndale FD
BILL: FIRE DETECTION INSTALLATION
t
| Item | Description | Unit | Qty | Rate | Amount
R C
| 1 | PRELIMINARY AND GENERAL ITEMS
Preliminary and General Items, pertaining specifically to the Fire Detection Installation.
| 1.1 | Site establishment and compliance with the conditions of contract, including storage, insurance and other overheads.
| 1.1.1 | Fixed cost | Sum | 1 | 0 | 0
| 1.2 | Insurance and Guarantee
Fixed of duration of the contract (March 2025 - June 2025)
| 1.2.1 | Fixed cost | Sum | 1 | 0 | 0
| 1.3 | Contractor's obligation to comply with all the requirements of the Health & Safety specifications of the Employer, Health and Safety specification, Construction Regulations Act, Submission of safety file and ongoing SHE management
| 1.3.1 | Fixed cost | Sum | 1 | 0 | 0
| 1.3.2 | Time related | Months | 3 | 0 | 0
| 1.4 | Site management in terms of Scope of work
| 1.4.1 | Fixed cost | Sum | 1 | 0 | 0
| 1.4.2 | Time related | Months | 3 | 0 | 0
| 1.5 | Design Refinement | PC Sum | 1 | 25000 | 25000
| Containment - Sub total for Section 1 |  |  |  |  | 25000
| Item | Description | Unit | Qty | Rate | Amount
| 2 | CONTAINMENT
| 2.1 | PVC Conduit
PVC conduit and accessories. Conduit applied and installed, including hospital saddles, couplings, cutting, reaming, bending, fixing etc.
Supply
| 2.1.1 | 20 mm diameter | m | 300 | 0 | 0
| 2.1.2 | 25 mm diameter | m | 20 | 0 | 0
| 2.1.3 | 25 mm diameter - Flexible conduit (Sprague) | m | 100 | 0 | 0
Install
| 2.1.4 | 20 mm diameter | m | 300 | 0 | 0
| 2.1.5 | 25 mm diameter | m | 20 | 0 | 0
| 2.1.6 | 25 mm diameter - Flexible conduit (Sprague) | m | 100 | 0 | 0
| 2.2 | Conduit boxes for PVC Conduit
Outlet boxes, round 65mm diameter x 25mm deep, complete with covers and screws, with conduit or 100x50 and 100x100 Surface and recesses boxes.
Supply
| 2.2.1 | Round Box for 20mm conduit (1, 2 3 or 4 Way) | No. | 50 | 0 | 0
| 2.2.2 | Round Box for 25mm conduit (1, 2 3 or 4 Way) | No. | 5 | 0 | 0
| 2.2.3 | 100 x 50 - Surface box for FD equipment or connections. | No. | 10 | 0 | 0
| 2.2.4 | 100 x 100 - Surface box for FD equipment or connections. | No. | 1 | 0 | 0
Install
| 2.2.5 | Round Box for 20mm conduit (1, 2 3 or 4 Way) | No. | 50 | 0 | 0
| 2.2.6 | Round Box for 25mm conduit (1, 2 3 or 4 Way) | No. | 5 | 0 | 0
| 2.2.7 | 100 x 50 - Surface box for FD equipment or connections. | No. | 10 | 0 | 0
| 2.2.8 | 100 x 100 - Surface box for FD equipment or connections. | No. | 1 | 0 | 0
| Containment - Sub total for Section 2 |  |  |  |  | 0
| Item | Description | Unit | Qty | Rate | Amount
| 3 | FIRE DETECTION SYSTEM
| 3.1 | Fire Detection System and equipment
Supply
| 3.1.1 | Technoswitch 2 loop, Esprit network addressable alarm panel (Fire detection control panel) mounted on wall in the indicated position on the drawings. Complete with ethernet network card for communication to the site and GSM card/unit for communication to cell phones | No. | 1 | 0 | 0
| 3.1.2 | Optical smoke detectors including standard base mounted on 65mm diameter drawboxes. | No. | 13 | 0 | 0
| 3.1.3 | Heat detectors including standard base mounted on 65mm diameter drawboxes. | No. | 1 | 0 | 0
| 3.1.4 | Optical Smoke/Heat Combinational detectors mounted on 65mm diameter drawbox | No. | 1 | 0 | 0
| 3.1.5 | Optical smoke detector, Strobe / Sounder combination, mounted on 65 mm diameter drawbox on walls/structure. | No. | 3 | 0 | 0
| 3.1.6 | Red manual call point units, complete with protect cover, surface mounted on wall or structure | No. | 5 | 0 | 0
| 3.1.7 | Strobe / Sounder combination, mounted on 65 mm diameter drawbox on walls/structure. | No. | 1 | 0 | 0
| 3.1.8 | I/O device to communicate with the other control panels, in the event of a fire | No. | 1 | 0 | 0
| 3.1.9 | I/O device, 230V, to control smoke extract fans or other mechanical device/fans in the event of a fire | No. | 2 | 0 | 0
| 3.1.10 | Interconnecting cabling between the Fire Detection elements and the Fire Detection alarm panel - PH30 | m | 300 | 0 | 0
| 3.1.11 | Strobe / Sounder Surface mounted, IP65, for external use and visual and audible for security. | No. | 1 | 0 | 0
| 3.1.12 | Remote LED indication light for ceiling void smoke detectors. | No. | 5 | 0 | 0
Install
| 3.1.13 | Technoswitch 2 loop, Esprit network addressable alarm panel (Fire detection control panel) mounted on wall in the indicated position on the drawings. Complete with ethernet network card for communication to the site and GSM card/unit for communication to cell phones | No. | 1 | 0 | 0
| 3.1.14 | Optical smoke detectors including standard base mounted on 65mm diameter drawboxes. | No. | 13 | 0 | 0
| 3.1.15 | Heat detectors including standard base mounted on 65mm diameter drawboxes. | No. | 1 | 0 | 0
| Carried Forward to next Page |  |  |  |  | 0
| Item | Description | Unit | Qty | Rate | Amount
| Brought Forward from previous Page |  |  |  |  | 0
| 3.1.16 | Optical Smoke/Heat Combinational detectors mounted on 65mm diameter drawbox | No. | 1 | 0 | 0
| 3.1.17 | Optical smoke detector, Strobe / Sounder combination, mounted on 65 mm diameter drawbox on walls/structure. | No. | 3 | 0 | 0
| 3.1.18 | Red manual call point units, complete with protect cover, surface mounted on wall or structure | No. | 5 | 0 | 0
| 3.1.19 | Strobe / Sounder combination, mounted on 65 mm diameter drawbox on walls/structure. | No. | 1 | 0 | 0
| 3.1.20 | I/O device to communicate with the other control panels, in the event of a fire | No. | 1 | 0 | 0
| 3.1.21 | I/O device, 230V, to control smoke extract fans or other mechanical device/fans in the event of a fire | No. | 2 | 0 | 0
| 3.1.22 | Interconnecting cabling between the Fire Detection elements and the Fire Detection alarm panel - PH30 | m | 300 | 0 | 0
| 3.1.23 | Strobe / Sounder Surface mounted, IP65, for external use and visual and audible for security. | No. | 1 | 0 | 0
| 3.1.24 | Remote LED indication light for ceiling void smoke detectors. | No. | 5 | 0 | 0
| 3.2 | Completion Items
| 3.2.1 | Testing and commissioning of the complete installation | Sum | 1 | 0 | 0
| 3.2.2 | Training of the Employer's personnel to operate the system | Sum | 1 | 0 | 0
| Fire Detection System - Sub total for Section 3 |  |  |  |  | 0
| Item | Description | Unit | Qty | Rate | Amount
| 4 | GENERAL ITEMS
| 4.1 | Workshop Drawings
|  | By a registered SAQCC commisioner. | Sum | 1 | 0 | 0
| 4.2 | Hoisting and Rigging
|  | Provision for scaffolding and high-rise equipment required to complete installation | Sum | 1 | 0 | 0
| 4.3 | Maintenance
|  | 12 months maintenance and servicing of equipment | Sum | 1 | 0 | 0
| General Items - Sub total for Section 4 |  |  |  |  | 0
| Item | Description | Unit | Qty | Rate | Amount
| 5 | Additional equipment required to complete the installation in accordance with the requirements of the Sovereign Foods:
Specify:
5.1
[5 empty] | 0 | 0
5.2
[5 empty] | 0 | 0
5.3
[5 empty] | 0 | 0
5.4
[5 empty] | 0 | 0
| Additional Equipment - Sub total for Section 5 |  |  |  |  | 0
SUMMARY
| Containment - Sub total for Section 1 |  |  |  |  | 25000
| Containment - Sub total for Section 2 |  |  |  |  | 0
| Fire Detection System - Sub total for Section 3 |  |  |  |  | 0
| General Items - Sub total for Section 4 |  |  |  |  | 0
| Additional Equipment - Sub total for Section 5 |  |  |  |  | 0
[5 empty] | Sub Total | 25000
[5 empty] | 15% VAT | 3750
[5 empty] | Total | 28750
Particulars of specialist Fire Detection Installer/contractor
NOTES TO BE READ IN CONJUNCTION WITH THE QUOTATION PRICE.
The amount given as the "Total Tender Price" and carried to the amounts official tender form will be regarded as including the amounts shown in the Bill and no adjustments will be made for any failure by Tenderer's to include these amounts in the total appearing on the official form.
The entire fire detection installation in this contract shall be completed concurrently with the building works.
All Material covered by this Specification should, wherever possible, be of South African manufacture. In the adjudication of Tenders, preference will be given to items manufactured in the Republic of South Africa from South African materials.
Company Stamp
Name of Contractor
Signature of Contractor
Date