## 01 P&G
SCHEDULE 1: PRELIMINARY AND GENERAL ITEMS
Item | Description | Unit | Qty | Rate | Amount
1 | Preliminary and General Items
1.1 | Compliance with the conditions of contract, contract data, preliminaries and general and all administrative costs and overheads. | Sum | 1 |  | 0
1.2 | Insurances | Sum | 1 |  | 0
1.3 | Construction Guarantee | Sum | 1 |  | 0
1.5 | Liaison with Main Contractor on programming and execution of works. | Sum | 1 |  | 0
1.6 | Liaison with other Contractors and Service providers (ie., Electrician, Medical Gas, Plumber, etc.) for final co-ordination between services with site management to ensure timeous and correct installation. | Sum | 1 |  | 0
1.7 | Contract Management and Site Supervision | Sum | 1 |  | 0
1.8 | Nett price to comply with all the requirements of the Health & Safety specification, ie Health and Safety file, Medicals, PPE for the duration of the contract. | Sum | 1 |  | 0
1.9 | Compilation of detail Operating and Maintenance Manuals, as-built drawings and documentation as specified and to the satisfaction of the Engineer. 3-off printed copies and 1x electronic version. | Sum | 1 |  | 0
1.10 | Training of the Employers staff. | Sum | 1 |  | 0
1.11 | 12 months guarantee from date of Practical Completion Certificate. | Sum | 1 |  | 0
1.13 | 12 months full maintenance and service of the installation in accordance with manufacturer's and suppliers specifications. | Sum | 1 |  | 0
1.14 | Any other P&G items: Contractor to specifiy | Sum | 1 |  | 0
| TOTAL SCHEDULE 1 : CARRIED FORWARD TO FINAL SUMMARY |  |  |  | 0

## 02 Equip & Material
SCHEDULE 2: HVAC EQUIPMENT INSTALLATION
Item | Description | Unit | Qty | Rate | Amount
2.1 | Fire Hose Reel
Fire hose reels in accordance with SANS 543 and install in accordance with SANS 10105-2 and SANS 10400-W, complete with stop cock, Pressure gauge and gauge cock.
2.1.1 | Supply | No. | 4
2.1.2 | Install | No. | 4
3.1 | Fire Extinguishers
| Supply and install fire extinguishers in accordance with SANS 1910 complete with timber backing board, primed and painted with red gloss enamel finished coat. |  |  |  | 0
3.1.1 | 4,5kg Dry Chemical Powder type | No. | 2
4.1 | Pipework
Supply and install Galvanised steel piping to SANS 62-1 for supply to fire hose reels. Complete with degreasing, priming and painting, finished in 2-coats of red gloss enamel.
4.1.1 | 25mm Nominal Size | m | 6 | 0 | 0
4.1.2 | 32mm Nominal Size | m | 24 | 0 | 0
5.1 | Pipe fittings
Supply and install Galvanised steel piping to SANS 62-2 for supply to fire hose reels
90° Elbow
5.1.1 | 25 x 25 | No. | 3 | 0 | 0
5.1.2 | 32 x 25 | No. | 1 | 0 | 0
5.1.3 | 32 x 32 | No. | 2 | 0 | 0
Tee
5.1.4 | 25 x 25 x 15 | No. | 1 | 0 | 0
Union
5.1.5 | 25mm | No. | 1 | 0 | 0
5.1.6 | 32mm | No. | 2 | 0 | 0
Connection to mains
Complete with stainless steel 3-piece ball valve.
5.1.7 | 32mm | No. | 2 | 0 | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
6.1 | Signage
Supply and install fire and directional signage in accordance with SANS 1186. Signs shall be wall mounted unsing corrosion resistant fixing
Directional signs, 380x190, photoluminescent, single sided, framed
6.1.1 | EXIT | No. | 4 | 0 | 0
6.1.2 | Running Man/Down Arrow | No. | 3 | 0 | 0
6.1.3 | Running Man/Left Arrow | No. | 1 | 0 | 0
Fire signs, 380x190, photoluminescent, single sided, framed
6.1.4 | Fire Hose reel/Extinguisher | No. | 4 | 0 | 0
Fire signs, 570x190, photoluminescent, double sided, framed
6.1.5 | Fire Hose reel/Extinguisher/Left Arrow | No. | 1 | 0 | 0
| TOTAL FOR SCHEDULE NO. 2 :CARRIED FORWARD TO FINAL SUMMARY |  |  |  | 0

## Summary
FINAL SUMMARY - MECHANICAL HVAC INSTALLATION
Schedule:
1 | Subtotal Bill No: 1 - Preliminary and General |  | 0
2 | Subtotal Bill No: 2 - HVAC Equipment and Materials |  | 0
| Sub-Total: |  | 0
| Add : 5% Contingency |  | 0
| Sub-Total |  | 0
| 15 % VAT |  | 0
| TOTAL TENDER PRICE |  | 0
NOTES TO BE READ IN CONJUNCTION WITH THE TENDER PRICE.
1 | The amount given as the "Total Tender Price" and carried forward to Part C1.1 Form of Offer and Acceptance will be regarded as including the Provisional and Contingency amounts shown in the various schedules and no adjustments will be made for any failure by Tenderer's to include for any pricing items, sums or amounts in the total appearing on the official offer.
2 | The entire mechanical installation in this contract shall be completed prior to completion and acceptance.
3 | All Material offered should, wherever possible, be of South African manufacture with strong local (Port Elizabeth) after-sales service and backup. In the final adjudication of Tenders, preference will be given to bids offering such equipment and materials.
Name of Mechanical Contractor
Signature of Authorised Representative of Mechanical Contractor |  | Date