## QSPlus Import
Section | BillNo | Item | Description | Type | Unit | Quantity | Rate | Amount
1 |  |  | SECTION NO. 1 | H
1 |  |  | PRELIMINARIES | H
1 | 1 |  | BILL NO. 1 | H
1 | 1 |  | PRELIMINARIES | H
2 |  |  | SECTION NO. 2 | H
2 |  |  | BUILDINGS | H
2 | 1 |  | BILL NO. 1 | H
2 | 1 |  | ALTERATIONS & DEMOLITI | H
2 | 1 |  | Demolition Of Walls | S
2 | 1 |  | Preliminaries (Moved From Bill 1 - For Review) | S
2 | 1 | 1 | Site establishment including temporary site offices, storage facilities, ablutions, security, water and electricity connections, maintained for duration of contract | I | Sum
2 | 1 | 2 | Temporary hoardings and barriers around work areas to protect and ensure safety, including signage and access control measures | I | m | 45 |  | 0
2 | 1 | 4 | Final comprehensive cleaning on completion including washing all windows, cleaning floors and walls, removal of all contractor's equipment, materials and rubbish before handover | I | Sum
2 | 1 | 5 | Internal scaffolding for works at height, maximum 3m above floor level, erected, maintained and dismantled as required for safe execution of works | I | m2 | 85 |  | 0
2 | 1 | 1 | Break out 230mm (one brick) brick walls including cartaway of all rubble to approved dump | I | m2 | 42 |  | 0
2 | 1 | 3 | Remove plasterboard partitions including metal studs, tracks, and noggins, cart away to dump | I | m2 | 65 |  | 0
2 | 1 |  | Removal Of Doors And Windows | S
2 | 1 | 4 | Remove existing timber doors complete with frames and architraves, cart away from site | I | No | 15 |  | 0
2 | 1 |  | REMOVAL OF SANITARY FITTINGS | H
2 | 1 | 6 | Remove existing sanitary fittings (WCs, wash basins) including disconnection of water and waste services, cart away | I | No | 6 |  | 0
2 | 1 |  | Floor And Wall Finishes | S
2 | 1 | 7 | Break out existing ceramic floor tiles including underlying screed, cart away | I | m2 | 85 |  | 0
2 | 1 | 8 | Hack off existing wall plaster where new finishes are required, make good edges, cart away | I | m2 | 320 |  | 0
2 | 1 | 9 | Remove existing suspended ceiling tiles and grid system where new ceilings required, cart away | I | m2 | 45 |  | 0
2 | 1 |  | Making Good After Demolitions | S
2 | 1 | 10 | Make good all openings, chases, holes, and penetrations in walls, floors, and ceilings to match existing surrounding finishes | I | Sum
2 | 1 | 11 | Make good external openings where windows or doors removed, including proper weatherproofing and sealing | I | Sum
2 | 2 |  | BILL NO. 2 | H
2 | 2 |  | FOUNDATIONS | H
2 | 2 |  | EXCAVATIONS | H
2 | 2 | 1 | Excavate for concrete bench seating foundations, depth not exceeding 0.80m, cart away surplus, compact bottom | I | m3 | 5.4 |  | 0
2 | 2 |  | CONCRETE WORK | H
2 | 2 | 2 | Mass concrete Grade 25MPa in 150mm thick strip footings for bench seating, vibrated and cured | I | m3 | 1.62 |  | 0
2 | 2 | 3 | Reinforced concrete Grade 30MPa in bench canopy slab and beam, 150mm thick, reinforcement measured separately | I | m3 | 0.23 |  | 0
2 | 2 |  | BRICKWORK | H
2 | 2 | 4 | 230mm (one brick) dwarf walls in common bricks, Class II mortar, below ground for bench seating support, height not exceeding 0.50m | I | m2 | 8.1 |  | 0
2 | 2 |  | Dampproof Courses | S
2 | 2 | 5 | 300mm wide bituminous damp-proof course on dwarf walls, lapped 150mm at joints | I | m | 18 |  | 0
2 | 3 |  | BILL NO. 3 | H
2 | 3 |  | CONCRETE, FORMWORK & R | H
2 | 3 |  | CONCRETE | H
2 | 3 | 1 | Reinforced concrete Grade 30MPa in bench seating with upstand, 150mm thick average, smooth float finish, fall 1:100 | I | m3 | 1.38 |  | 0
2 | 3 | 2 | 12mm cement plaster smooth finish to all vertical and horizontal concrete surfaces of bench seating | I | m2 | 22.7 |  | 0
2 | 3 |  | FORMWORK | H
2 | 3 | 3 | Formwork to sides of bench seating, height not exceeding 1.00m, fair face finish | I | m2 | 13.5 |  | 0
2 | 3 |  | REINFORCEMENT | H
2 | 3 | 4 | High tensile deformed steel reinforcement bars Grade 450MPa, Y10 diameter in bench seating | I | kg | 65 |  | 0
2 | 4 |  | BILL NO. 4 | H
2 | 4 |  | MASONRY | H
2 | 4 |  | BRICKWORK - SUPERSTRUCTURE | H
2 | 4 | 1 | 114mm (half brick) walls in NFX bricks, Class II mortar, height exceeding 3.00m, in Strong Rooms and partitions | I | m2 | 145.6 |  | 0
2 | 4 | 2 | 230mm (one brick) walls in NFX bricks, Class II mortar, Strong Room security walls | I | m2 | 33.6 |  | 0
2 | 4 |  | Lintels | S
2 | 4 | 3 | Precast concrete lintels 100 x 150mm over openings, various lengths | I | No | 12 |  | 0
2 | 4 | 4 | Galvanised steel lintels for wide openings as detailed | I | No | 4 |  | 0
2 | 5 |  | BILL NO. 5 | H
2 | 5 |  | STRUCTURAL STEELWORK | H
2 | 5 | 1 | Galvanised mild steel RHS 100 x 100 x 5mm posts for clerestory structure, 2.5m high average, bolted to beams | I | kg | 760 |  | 0
2 | 5 | 2 | Galvanised steel baseplates 180 x 180 x 6mm, bolted to structure | I | kg | 240 |  | 0
2 | 5 | 3 | Treated SA Pine eaves beams 76 x 228mm supporting clerestory structure | I | m | 75 |  | 0
2 | 6 |  | BILL NO. 6 | H
2 | 6 |  | Roofing | S
2 | 6 |  | Roof Coverings | S
2 | 6 | 1 | BMI Coverland 420 x 330mm Elite concrete roof tiles, Slate Grey, fixed to battens with clips | I | m2 | 350 |  | 0
2 | 6 | 2 | Waterproof breathable membrane underlay with minimum 150mm laps | I | m2 | 385 |  | 0
2 | 6 | 3 | 38 x 38mm treated SA Pine battens at 345mm centres, nailed to structure | I | m | 1050 |  | 0
2 | 6 |  | Ridges And Hips | S
2 | 6 | 4 | BMI Coverland ridge tiles matching roof tiles, bedded and pointed | I | m | 45 |  | 0
2 | 6 | 5 | BMI Coverland hip tiles matching roof tiles, bedded and pointed | I | m | 8 |  | 0
2 | 7 |  | BILL NO. 7 | H
2 | 7 |  | RAINWATER GOODS | H
2 | 7 |  | GUTTERS | H
2 | 7 | 1 | Seamless aluminium gutters 125 x 125 x 0.9mm, ColourTech G4 coating, including brackets at 600mm centres | I | m | 103 |  | 0
2 | 7 | 2 | Gutter fittings including stop ends, internal and external angles | I | No | 26 |  | 0
2 | 7 |  | DOWNPIPES | H
2 | 7 | 3 | Aluminium downpipes matching gutters, including brackets at 1.2m centres | I | m | 32 |  | 0
2 | 7 | 4 | Downpipe bends, offsets and shoes | I | No | 27 |  | 0
2 | 8 |  | BILL NO. 8 | H
2 | 8 |  | Cladding | S
2 | 8 | 1 | Nu-Tec Claddit 6mm cladding to clerestory vertical faces, painted | I | m2 | 150 |  | 0
2 | 8 | 2 | Aluminium C-channel cladding to galvanised steel posts, both faces | I | m2 | 195 |  | 0
2 | 8 | 3 | 38 x 38mm timber brandering for cladding support | I | m | 75 |  | 0
2 | 8 | 4 | Purpose bent aluminium cills to clerestory windows | I | m | 40 |  | 0
2 | 9 |  | BILL NO. 9 | H
2 | 9 |  | Windows | S
2 | 9 |  | Clerestory Windows | S
2 | 9 | 1 | Type SF01 - Aluminium framed glazed windows, powdercoated, complete with 6mm toughened glass | I | No | 17 |  | 0
2 | 9 | 2 | Type SF02 - Aluminium framed glazed windows, powdercoated, complete with 6mm toughened glass | I | No | 10 |  | 0
2 | 9 | 3 | Type SF03 - Aluminium framed glazed windows, powdercoated, complete with 6mm toughened glass | I | No | 5 |  | 0
2 | 9 | 4 | Type SF04 - Solid aluminium panels (not glazed) | I | No | 7 |  | 0
2 | 9 |  | Ground Floor Windows | S
2 | 9 | 5 | Aluminium windows 1800 x 1500mm for office areas, powdercoated, glazed | I | No | 2 |  | 0
2 | 9 | 6 | Aluminium window 1200 x 1200mm for Boardroom, powdercoated, glazed | I | No | 1 |  | 0
2 | 10 |  | BILL NO. 10 | H
2 | 10 |  | EXTERNAL DOORS | H
2 | 10 | 1 | Aluminium framed glazed entrance door 2100 x 1200mm with panic hardware and closer | I | No | 1 |  | 0
2 | 10 | 2 | Steel fire door 2100 x 900mm, FD30 rated, with panic bar and closer | I | No | 1 |  | 0
2 | 11 |  | BILL NO. 11 | H
2 | 11 |  | FLOOR FINISHES | H
2 | 11 |  | Timber Flooring | S
2 | 11 | 1 | Existing timber floors sanded and refinished by specialist, including sealing | I | m2 | 81 |  | 0
2 | 11 |  | CERAMIC FLOOR TILES - INTERIOR | H
2 | 11 | 2 | 600 x 600mm ceramic floor tiles including TAL GOLDFLEX adhesive, TAL WALL and FLOOR GROUT mixed with TAL BOND | I | m2 | 293 |  | 0
2 | 11 |  | CERAMIC FLOOR TILES - EXTERIOR | H
2 | 11 | 3 | 600 x 600mm ceramic floor tiles to Veranda, TAL GOLDFLEX adhesive, grouted | I | m2 | 30 |  | 0
2 | 11 |  | Accessories | S
2 | 11 | 4 | MTrim Aluminium Transition Cover 29mm×8mm at tile junctions | I | m | 27 |  | 0
2 | 11 | 5 | MTrim Aluminium Movement Joints 10mm height | I | No | 14 |  | 0
2 | 11 | 6 | 10 x 10mm Polyurethane sealant between tiles and walls | I | m | 85 |  | 0
2 | 12 |  | BILL NO. 12 | H
2 | 12 |  | WALL FINISHES | H
2 | 12 |  | PLASTER | H
2 | 12 | 1 | 15mm two coat cement plaster to new brick walls | I | m2 | 179 |  | 0
2 | 12 | 2 | Make good existing plaster where disturbed, patch and repair to match | I | m2 | 145 |  | 0
2 | 12 |  | WALL TILES | H
2 | 12 | 3 | Ceramic wall tiles to WCs full height 2.1m, Tal Professional adhesive, Tal Fine Epoxy grout ≤3mm | I | m2 | 48 |  | 0
2 | 12 | 4 | Aluminium straight edge trim to exposed tile edges | I | m | 12 |  | 0
2 | 12 |  | PAINTING | H
2 | 12 | 5 | DULUX Trade Alkali Resistant Primer (1 coat) + DULUX Trade 100 Low Sheen (2 coats) to new walls | I | m2 | 420 |  | 0
2 | 12 | 6 | DULUX Trade Alkali Resistant Primer (patching) + DULUX Trade 100 Low Sheen (2 coats) to existing walls | I | m2 | 1730 |  | 0
2 | 13 |  | BILL NO. 13 | H
2 | 13 |  | Skirtings | S
2 | 13 | 1 | Capco Gamma Base Reveal 75 drywall trim skirting, concealed fixed | I | m | 165 |  | 0
2 | 13 | 2 | Capco Gamma Section 76 flat skirting, concealed fixed | I | m | 58 |  | 0
2 | 14 |  | BILL NO. 14 | H
2 | 14 |  | Ceilings | S
2 | 14 |  | NEW CEILINGS | H
2 | 14 | 1 | Nutec Claddit ceiling boards on suspended grid system including hangers | I | m2 | 107 |  | 0
2 | 14 |  | EXISTING CEILINGS | H
2 | 14 | 2 | Patch and make good existing ceilings where disturbed | I | m2 | 285 |  | 0
2 | 15 |  | BILL NO. 15 | H
2 | 15 |  | INTERNAL DOORS | H
2 | 15 | 1 | Solid core timber doors 44mm thick, 2100 x 900mm for offices, complete with hardwood frame and architraves | I | No | 8 |  | 0
2 | 15 | 2 | Solid core timber doors 44mm thick, 2100 x 800mm for WCs and stores, complete with hardwood frame | I | No | 6 |  | 0
2 | 15 | 3 | Hollow core timber doors 2100 x 800mm for cupboards | I | No | 4 |  | 0
2 | 15 | 4 | Aluminium framed glazed doors 2100 x 900mm for Boardroom | I | No | 1 |  | 0
2 | 15 | 5 | Fire doors FD30 rated 2100 x 900mm for Strong Rooms and fire escape | I | No | 3 |  | 0
2 | 15 | 6 | Steel security doors 2100 x 900mm for Strong Rooms | I | No | 2 |  | 0
2 | 16 |  | BILL NO. 16 | H
2 | 16 |  | FIXED JOINERY | H
2 | 16 | 1 | JT01 Security Desk 1935 x 785/1150 x 1100mm with Melawood carcass, PVC laminate doors, EeziQuartz countertops, complete with hardware | I | No | 1 |  | 0
2 | 16 | 2 | JT02 Kitchenette 2330 x 650 x 1000mm with Melawood carcass, 5 drawers, cupboards, EeziQuartz tops and splashback, stainless steel sink and mixer | I | No | 1 |  | 0
2 | 17 |  | BILL NO. 17 | H
2 | 17 |  | IRONMONGERY | H
2 | 17 | 1 | Satin stainless steel lever handle sets | I | No | 25 |  | 0
2 | 17 | 2 | Cylinder locks keyed alike system | I | No | 20 |  | 0
2 | 17 | 3 | High security locks for Strong Rooms | I | No | 2 |  | 0
2 | 17 | 4 | Panic hardware for fire escapes | I | No | 2 |  | 0
2 | 17 | 5 | Overhead door closers | I | No | 8 |  | 0
2 | 17 | 6 | 100 x 75mm brass hinges (3 per door) | I | Pair | 75 |  | 0
2 | 17 | 7 | WC accessories (toilet roll holders, dispensers, grab rails, mirrors) | I | Sum
3 |  |  | SECTION NO. 3 | H
3 |  |  | PLUMBING & DRAINAGE | H
3 | 1 |  | BILL NO. 1 | H
3 | 1 |  | PLUMBING & DRAINAGE | H
3 | 1 |  | SANITARY FITTINGS | H
3 | 1 | 1 | Wall-hung WC suites with concealed cisterns, complete | I | No | 7 |  | 0
3 | 1 | 2 | Wall-hung wash hand basins with mixer taps | I | No | 6 |  | 0
3 | 1 | 3 | Stainless steel single bowl sink with mixer tap | I | No | 1 |  | 0
3 | 1 |  | HOT AND COLD WATER | H
3 | 1 | 4 | 15mm copper pipe Type B including fittings and supports | I | m | 85 |  | 0
3 | 1 | 5 | 22mm copper pipe Type B including fittings and supports | I | m | 45 |  | 0
3 | 1 | 6 | 150L electric geyser with mounting bracket and drip tray | I | No | 1 |  | 0
3 | 1 |  | SOIL AND WASTE | H
3 | 1 | 7 | 110mm uPVC soil pipes Class 34 including fittings | I | m | 62 |  | 0
3 | 1 | 8 | 50mm uPVC waste pipes including fittings | I | m | 32 |  | 0
3 | 1 | 9 | 100mm diameter floor drains | I | No | 4 |  | 0
3 | 1 |  | Additional Drainage | S
3 | 1 | 10 | 110mm uPVC sewer pipe connections to existing manhole | I | m | 25 |  | 0
3 | 1 | 11 | Rodding eyes with brass caps | I | No | 2 |  | 0
4 |  |  | SECTION NO. 4 | H
4 |  |  | ELECTRICAL INSTALLATION | H
4 | 1 |  | BILL NO. 1 | H
4 | 1 |  | ELECTRICAL INSTALLATI | H
4 | 1 | 1 | PROVISIONAL SUM for complete electrical installation including DB upgrades, LED lighting, sockets, data points, fire detection, conduits and cables as per Engineer's design | I | Sum
5 |  |  | SECTION NO. 5 | H
5 |  |  | MECHANICAL INSTALLATION | H
5 | 1 |  | BILL NO. 1 | H
5 | 1 |  | MECHANICAL INSTALLATI | H
5 | 1 |  | VRF AIR CONDITIONING | H
5 | 1 | 1 | Midea VRF outdoor units, 2 No. at 28kW each, total 56kW capacity, complete with mounting | I | No | 2 |  | 0
5 | 1 | 2 | Midea VRF indoor wall-mounted units, various capacities 1.5kW to 10kW as scheduled | I | No | 14 |  | 0
5 | 1 | 3 | Refrigerant piping insulated copper including fittings | I | m | 280 |  | 0
5 | 1 | 4 | 20mm uPVC condensate drainage piping | I | m | 95 |  | 0
5 | 1 |  | VENTILATION | H
5 | 1 | 5 | Extract fans 150mm diameter, 60 L/s for WCs | I | No | 3 |  | 0
5 | 1 | 6 | Extract fan 200mm diameter, 90 L/s for Kitchenette | I | No | 1 |  | 0
5 | 1 | 7 | Galvanised ductwork including fittings | I | m | 36 |  | 0
5 | 1 |  | COMMISSIONING | H
5 | 1 | 8 | Testing, commissioning and performance verification of complete HVAC system | I | Sum
6 |  |  | SECTION NO. 6 | H
6 |  |  | SUNDRIES | H
6 | 1 |  | BILL NO. 1 | H
6 | 1 |  | Sundries | S
6 | 1 | 1 | Galvanised steel frame with bent composite aluminium panel duct screen access gates, smooth plaster finish | I | No | 4 |  | 0
6 | 1 | 2 | Builder's work in connection with services including chases, holes, fire stopping, making good | I | Sum
7 |  |  | SECTION NO. 7 | H
7 |  |  | PROVISIONAL SUMS | H
7 | 1 |  | BILL NO. 1 | H
7 | 1 |  | PROVISIONAL SUMS | H
7 | 1 | 1 | PC Sum for supply of floor tiles (laying measured separately) | I | Sum
7 | 1 | 2 | PC Sum for supply of wall tiles (laying measured separately) | I | Sum
7 | 1 | 3 | PC Sum for supply of sanitary ware (installation measured separately) | I | Sum
7 | 1 | 4 | Contingency allowance (10%) for unforeseen works and variations | I | Sum